FIRE SAFETY POLICY

Contents

Chapter 1 			Statement

Introduction

Chapter 2 			Arrangements

2.1 Management Responsibilities

2.2 Duties of Caretaker/Facilities staff

2.3 Duties of Teaching Staff

2.4 Duties relevant to staff and students

2.5 Contractors

2.6 Visitors

2.7 Calling the Fire and Rescue Service

2.8 Use of Lifts

2.9 Personal Emergency Evacuation Plan (PEEPS)

Chapter 3 			Staff Training

3.1 Statutory Requirements

3.2 Staff Fire Safety Training

Chapter 4 			Fire Safety Provision

4.1 Fire Safety Risk Assessments

4.2 Emergency Procedures

4.3 Dangerous Substances

4.4 Dangerous Conditions

4.5 Alarm Activation & Incident Reporting

4.6 Unwanted Fire Alarm Signals (UFAS)

4.7 Fire Action Plans

Chapter 5 			Fire Safety Management

5.1 Fire doors

5.2 Exit Routes

5.3 Fire safety systems

5.4 Fire-fighting equipment

5.5 Structural alterations

5.6 External Waste Containers and Refuse Bins

5.7 Fire Safety Inspections

Statement

We ensure our premises present no risk of fire by providing the highest possible standard of fire protection. The management and staff are familiar with current legal requirements. When necessary will we seek the advice of a competent person, such as our fire officer, or fire safety consultant.

Fire Drills

The Manager/Supervisor is responsible for arranging the Fire Drills, which they will delegate to a different staff member to perform. These will happen once/twice a term or if we have a new member of staff, student or volunteer we will do one as part of their induction, Alarms will be checked once a week as part of the risk checks by staff. All information will be recorded signed and dated. The fire Drill procedure is clearly displayed in the staff Room, Main Room and Reception for all parents, staff and helpers to read. Visitors will be informed of exits. If the fire alarm fails to go off to warn of a fire, a backup plan of a verbal warning or whistle will be given to warn the setting of the fire.

Records are kept of fire drills and the servicing of fire safety equipment

Emergency evacuation procedure

Our emergency evacuation shows the following instructions;

• How children are familiar with the sound of the fire alarm.

• How the children staff and parents know where the fire exits are.

• How children are led from the building to the assembly point.

• How they will be accounted for and who by.

• Who calls the emergency services and when in the event of a real fire.

• How parents are contacted.

Fire alarm

The sound of the alarm is identified by a continuous beep throughout the nursery which all staff and children are familiar with through discussion and regular fire drills.

Fire Exit

Fire exits are clearly marked and are kept clear at all times.

Evacuation and Assembly Point

All Children, staff and visitors will be led from the building via fire exit doors which are located in the main building (where necessary prams will be used to evacuate babies in an emergency). Teachers will call the registers to make sure all children, staff and visitors are accounted for. The visitor’s book will also be collected.

Emergency Fire Drill Kit

An emergency bag will be taken out on fire drills, this will also include mobile and telephone numbers of children, staff and visitor’s and first aid kit. Fire Extinguishers/Blankets Fire extinguishers are situated inside is also a fire blanket in the kitchen. These are checked annually by the fire officer and certificates are recorded, staff is also given training on how to use the appropriate extinguisher. The fire drill log must be completed after every fire evacuation.

The fire log book must contain:

• Date and time of the drill.

• How long it took.

• How many children, staff, students and visitors

• Whether there were any problems that delayed evacuation.

• Any further action taken to improve the drill procedure.

- Introduction

The setting is committed to providing a safe environment for its staff, students and visitors. Part of this safety responsibility is in the provision and management of fire safety systems and procedures. All members of the setting, their visitors and contractors, have a statutory responsibility in ensuring compliance with the law and complying with the fire safety provisions defined within this policy.

Fire is recognised as a major threat to the activities of the setting. An outbreak of even a small fire creates risk to both life and property, damage to the environment and may compromise our normal business activities.

The setting will ensure, so far as is reasonably practicable, that the risk associated with fire will be managed in compliance with the Regulatory Reform (Fire Safety) Order 2005 (RRFSO) and any other relevant legislation that may impact upon it. The aim of this policy is, therefore, to provide a robust fire safety framework which will be implemented to secure the safety and wellbeing of everyone within the Setting Community and to protect the Setting’s assets.

2. Arrangements

2.1 Management Responsibility

This Fire Safety Policy applies to all premises and activities falling, to any extent, under the setting’s control. The policy sets down the framework by which the setting and all members of the setting’s community are expected to undertake their relevant duties. The main responsibility for statutory compliance with the RRFSO is held by the setting with the management and supervision of the regulations devolved via the Principal/Executive Head teacher/Head teacher to the relevant members of the senior leadership team, who will ensure that the requirements of the duty holder’s responsibilities in respect of the undertakings required to meet compliance with the RRFSO are diligently met. The RRFSO requires each employer and person who has control of a relevant premise, to any extent, to carry out an assessment of the premises to identify any risks to the safety of relevant persons in respect of harm caused by fire and to take all reasonable fire safety measures to ensure the safety of relevant persons within the relevant premise. The following Fire Safety Management diagram details the managerial delivery process to ensure all fire safety provisions are maintained. This reflects the normal line management arrangements within the setting.

Fire Safety Management

Head Teacher

Academy Trust/Governors

Building Manager

Business Manager

Facilities Staff i.e. Caretaker

Contractors

Head of Year

Head of Dept.

Teaching Staff

To allow this statutory provision to be undertaken the Building manager and Business Manager will be responsible for:

- Ensuring arrangements are made in respect of the maintenance of fire safety provision for the relevant premise, this will include:

- Fire warning and detection systems are maintained in accordance with the relevant standard.

- Fire-fighting equipment, including fixed installations and specialist systems, are subjected to a maintenance programme in accordance with the manufacturer’s guidelines.

- Means of escape are maintained as required.

- Emergency lighting, escape lighting and signage are maintained and tested in accordance with the relevant standard.

- Electrical installation tests are undertaken as required.

- Ensuring that any recommendations from risk assessment reviews, relevant to areas of responsibility, are responded to diligently.

- Ensuring that all works undertaken by contractors, relevant to areas of responsibility, are supervised and where “hot works” are to be carried out, that the appropriate approval is completed.

- Ensure that all staff receives fire safety training on induction and at regular intervals thereafter.

- Ensure that adequate records are maintained in relation to:

i) Storage and use of dangerous substances (COSHH)

ii) Fire Alarm testing (weekly)

iii) Fire Alarm maintenance

iv) Emergency lighting tests

v) Electrical portable appliance tests

vi) Staff fire safety training

- Ensuring that all works undertaken by contractors, relevant to areas of responsibility, are supervised and where “hot works” are to be carried out, that the appropriate approval is completed.

2.2 Duties of Caretaker/Facilities staff

- Proactively monitor waste and waste storage ensuring it is stored away from buildings and within designated containers

- Carry out daily and weekly inspections in their area of responsibility regarding escape routes, fire alarm indicator panels, and alarm tests.

- In collaboration with other staff within the building, ensure that in a situation requiring the attendance of the emergency services (e.g. Fire & Rescue Service), adequate information is available to prevent, so far as is reasonably practicable, their being exposed to risks to their health and safety.

- Assist in the development of appropriate arrangements for aiding the evacuation of sensory or mobility impaired occupants. Ensure the posting of appropriate warning fire signs and notices and report deficiencies to the Building Manager and/ or Business Manager.

- Drawing the attention of the Building Manager and/ or Business Manager.to any deficiency or obstruction on these routes

2.3 Duties of Teaching Staff

- Proactively monitor waste and waste storage ensuring it is stored away from buildings and within designated containers

- In collaboration with other staff within the building, ensure that in a situation requiring the attendance of the emergency services (e.g. Fire & Rescue Service), adequate information is available to prevent, so far as is reasonably practicable, their being exposed to risks to their health and safety.

- To be familiar with all exit routes from the building in which they normally work.

- To advise others on exit routes.

- Drawing the attention of the Caretaker, Building Manager and/or Business Manager.to any deficiency or obstruction on these routes.

- Instruct persons in the area in which they find themselves to vacate the building pausing only to make any equipment safe.

- Guide persons along exit routes and help those whose routes are obstructed to find alternative routes.

- Instruct persons outside the building to clear the approach roads and to congregate in the recognised assembly areas and not to re-enter the building until so instructed by a senior Fire and Rescue Service Officer.

- Report the successful evacuation of their area of responsibility to the Senior Staff Member present that is responsible for evacuation.

2.4 Duties relevant to staff and students

Staff and students have a responsibility to comply with the Fire Safety Policy. This will include, but not be limited to:

- Observing all instructions, information and training intended to secure fire safety.

- Co-operating with the setting on all matters relevant to fire safety;

- Not interfering with any building fabric or equipment provided in connection with assuring fire safety.

- Reporting any obvious defects or shortcomings in the settings fire safety provision, arrangements or procedures.

2.5 Contractors

Where contractors are on site it will be the duty of the relevant person with the responsibility for the works undertaken by them, to ensure the appropriate level of fire safety provision is incorporated within any work schedule, contract agreement or risk assessment and where such works are likely to impact on the existing fire safety provision notification must be communicated to the Business Manager for his/her consideration. Contractors will also require to be made aware of the Fire Action Plan relevant to the area they are working in or are likely to attend. Where any work requires be undertaken that is likely to involve the application of a naked flame or mechanically induced heat source a “Hot Work Permit” must be acquired and agreed prior to the commencement of such works.

2.6 Visitors

Members of the public or other visitors require to be advised of the evacuation plans for any relevant premise they access. To ensure this is accomplished adequate “Fire Action Notices” require to be displayed at prominent locations. Where possible, all buildings which the public have access to should be managed in such a way as to ensure that staff can account for all visitors within the premises at any given time to ensure safe evacuation.

2.7 Calling the Fire and Rescue Service

Where a fire is detected by automatic fire detection, the alarm will be raised automatically via an integrated fire safety system. If no system is in place due to a maintenance issue 999 should be called immediately after a fire is discovered.

Where a activation is received via the automated Fire Alarm System on the main fire alarm panel, the setting shall immediately dial 999, request the attendance of the Fire and Rescue Service, informing the operator of the exact address, location and an indication of the nature of the call, e.g.: automatic fire alarm activation.

2.8 Use of Lifts

The use of lifts during a fire or alarm activation is strictly prohibited. Unless premises do have evacuation lifts specifically provided for evacuation purposes. These lifts are provided for the safe and efficient evacuation of persons with specific physical impairments and must only be operated by trained staff. Under no circumstances should evacuation lifts be operated by anyone other than a trained member of staff with specific knowledge and training in relation to safe evacuation procedures for the relevant premise. Where a relevant premise has a refuge area incorporated within a protected zone it is required to have a clear means of communication between the designated refuge area and another person in a safe zone. It is the responsibility of the setting to ensure evacuation of persons with physical, cognitive or sensory impairment is carried out diligently. Where refuges and evacuation lifts are present, the evacuation procedures require to be incorporated within the fire action plan for the relevant premise.

2.9 Personal Emergency Evacuation Plan (PEEPS)

Where there is a requirement for assistance by any person to evacuate any relevant premise during an emergency a PEEPS application will be required. Students or staff, who may require assistance to evacuate, should discuss their concerns and needs with their course co-ordinator, line manager or supervisor, as applicable, so that any necessary individual arrangements can be put in place in advance. Business Managers should consider the arrangements that may be required to assist visitors with physical impairments in their area where evacuation becomes necessary. Evacuation chairs are provided at various locations and training in their application and use may be coordinated through the Business Manager on request.

3 Staff Fire Safety Training

3.1 Statutory Requirements

The RRFSO requires an employer to ensure that his or her employees are provided with adequate fire safety training. To comply with this statutory requirement the Business Manager shall ensure that all employees receive regular fire safety training and all new employees undertake fire safety training as soon as is practicable after commencement of employment. (Note: induction information relevant to fire safety provisions within the setting is available on the settings/Academy Trusts web pages). Account must also be taken of circumstances that may impact on fire safety provision such as the introduction of new work equipment, new technology, new or changed risks etc.

Where young persons (under the age of 18) are employed/volunteering or undertaking work experience account must be taken of their lack of awareness, inexperience and immaturity when assessing work-based tasks and the impact this may have on fire safety arrangements.

3.2 Staff Fire Safety Training

All new employees must to be informed of the fire safety provisions that are relevant to the workplace. The line manager is responsible for ensuring that arrangements are made to ensure new employees are advised of the following:

- Fire action arrangements, including the Fire Safety Policy

- Means of escape within the premise

- Location of fire exits

- Location of fire-fighting equipment

- Details in relation to relevant findings of the fire risk assessments and dangerous substances.

- Fire safety training (online or classroom based)

The setting’s on-line fire/classroom safety training course/ is available within/from the local authority/external source. All staff is required to access and complete the course on minimum 3 yearly basis or before if they feel they need to refresh themselves. The course typically includes the following topics:

- General fire safety awareness

- Means of escape

- Fire extinguisher awareness

- Relevant fire safety risk assessments

- Raising the alarm and personal safety

- Legislative requirements

- Fire safety principles

- Record keeping

4. Fire Safety Provision

4.1 Fire Safety Risk Assessment

The main purpose of the fire safety risk assessment process is to ensure that a methodical and structured approach is applied to assessing the suitability and effectiveness of the fire safety provisions applicable to a relevant premise and the fire hazards within. The RRFSO and places a statutory duty on each employer to carry out an assessment of the workplace for the purpose of identifying any risks to the safety of the employees, students, visitors and others in respect of harm caused by fire. Whilst there is no specific format for undertaking and recording a risk assessment, it is recommended that a workplace fire risk assessment take place in a series of steps or stages.

- Identify the fire hazard

- Sources of ignition

- Fuels

- Identifying persons at risk

- Measuring and identifying the risk

- Preventing or controlling exposure to risk

- Improved control over ignition sources

- Segregating high risk processes

- Providing extra means of escape in certain cases

- Installing smoke and fire detection systems and a better alarm system

- Deaf Alerters to be utilised

- Installation of a sprinkler system in high risk areas

- Improving the standard of housekeeping and the storage of waste materials

- Briefing of visitors and contractors’ employees on fire safety procedures

- Incorporating fire safety procedures in the organisations Contractor Regulations

- Record the findings

- Reviewing the assessment

A date for review of the assessment, for example, in 12 months’ time should be recorded on the assessment. However, in some circumstances it may be necessary to review the assessment earlier in the event of, for instance

- The introduction of new work processes

- The introduction of new flammable substances

- Changes in occupation of offices and other areas of a workplace

- Modifications to layout of the workplace

A copy of the fire risk assessment for every building must be held within the Fire Safety Logbook for viewing by any relevant person.

  - Emergency Procedures

In consultation with the Head Teacher, where required, Business Managers will ensure that two fire evacuation drills are carried out per annum, during term time and when the buildings are occupied. It is accepted that drills should be avoided during times, such as exams, however, consideration should be given to ensuring advantage is taken of peak occupancy times and ensure that all fire exits are utilised.

  - Dangerous Substances

The impact of dangerous substances when exposed to fire can create a hostile and unpredictable environment. Where such substances are stored and used within the setting particular attention should be given to the safe use and storage guidance supplied with the substance’s Safety Data Sheet. Students and employees should only be exposed to dangerous substances in an appropriately controlled and supervised environment.

  - Dangerous Conditions (Fire Safety)

Where in the opinion of any student or member of staff a dangerous condition exists, that is likely or has the potential to compromise the safety of any person in the event of fire, and the condition should be brought to the attention of the Head Teacher/Head of Department. In the first instance, the Head Teacher/Head of Department should investigate the concerns and where necessary implement the appropriate means to negate the risk or contact the Building Manager to seek assistance. Where the Building Manager cannot resolve the concern, they must bring the matter to the attention of the Local Authority/Academy Trust as soon as is reasonably practicable.

  - Alarm Activations and Incident Reports

In the event of a fire or alarm activation within the premises, the Fire Incident Form must be completed. This process enables the Local Authority/Academy Trust to be aware of all incidents where the Fire and Rescue Service has been summoned to the Setting, but more importantly allows for investigations to be carried out where necessary. Where a small fire has occurred and was subsequently extinguished without activating the fire warning system, an incident report must still be completed and forwarded to the Building manager and Local Authority/Academy Trust. In such circumstances the incident must be reported to their line manager who will then arrange for the report to be completed.

  - Unwanted Fire Alarm Signals (UFAS)

Unwanted fire alarm signals are activations of the fire warning system that are activated by any effect other than fire. These signals ultimately have a negative effect on the setting’s core business and also encourage complacency, as well as eroding user confidence. It is the intent of the setting to strive towards zero tolerance of UFAS whilst recognising the importance of fire detection systems in protecting staff, students, visitors and the build environment from the effects of fire.

  - Fire Action Plans

Fire action notices are located at various points within all relevant premises detailing the relevant information from the fire action plans. All employees are required to be familiar with these notices as well as the detail within the fire action plans. Each notice will clearly indicate the following:

- The type of audible sounder within the relevant premise

- The location of the assembly point

- Simple guidance on actions to be taken.

Fire action plans require to be adapted to accommodate all known hazard or risk that are likely to impact on evacuation. These will include details of isolation procedures for processes and equipment as well as information sharing with the fire and rescue service when in attendance.

The fire action plan will also detail the relevant evacuation procedures that are to be adopted for persons with impairments. The Building Manager must be consulted prior to implementing a Fire Action Plan.

- Fire Safety Management

The settings premises have a number of fire safety provisions incorporated within them. These provisions are often referred to as either an active provision, examples of which can be fire safety systems and smoke extraction, or a passive provision, examples of which can be fire doors or intumescent treatments etc. Irrespective of the provision it is necessary to recognise the importance of such features and ensure that their function is not compromised, as to do so will ultimately impact on the operational capability of the provision and ultimately effect the safety of occupiers and the integrity of the building itself.

5.1 Fire Doors

Fire doors are doors that are designed to restrict the spread of fire and the products of combustion within a predicted time period and will normally feature a self-closing device. All fire doors are marked as a fire door and should be kept closed at all times. The use of wedges and other items as hold open devices is not permitted within any of the setting’s premises and must be positively discouraged.

The use of electromagnetic hold open devices on fire doors may be considered in some instances. Where such devices require to be considered it may impact on the fire safety provision, therefore, full consultation with the setting’s Building Manager will be required.

  - Exit Routes

All exit routes are indicated by signage. To ensure exit routes are not compromised, no equipment or materials may be accommodated or stored within any protected exit route or protected stair enclosure. All exits must be maintained clear, free from any obstruction and all final exit doors require to be easily and immediately openable from the direction of travel. Additionally, the surface finish to wall linings within stair enclosures and protected routes should be maintained free from any form of combustible wall decorations. Notice boards will be accepted in such areas as long as they are enclosed and effectively managed.

Corridors and stairways that form part of escape routes should be kept clear and hazard free at all times. Items that may be a source of fuel or ignition should not be located within escape routes, such items include; portable heaters, cooking appliances, upholstered furniture, coat racks, vending machines, gas pipes and meters, photocopiers and other electrical equipment, seasonal decorations and display or exhibition material.

  - Fire Warning System

A fire warning system is a system designed to provide an audible alarm and may include activation by means of detecting the elements of combustion. In all cases the alarm can be activated by means of a manual alarm call point. Manual alarm call points are normally situated in exit routes and at final exits. Where fire is known or suspected, the alarm should be raised immediately utilising a manual alarm call point (break glass point). On hearing an alarm all occupants of a premise (employees, student’s, contractors and the public) must evacuate the building by the nearest available exit and assemble at the prescribed assembly point, with the exception of authorised persons for specific tasks, such as alarm investigation or PEEPs implementation. Visual warning devices are incorporated within all new fire warning systems to assist in warning people with hearing impairments; however, existing systems do not offer this facility.

  - Fire Fighting Equipment

Fire-fighting equipment is provided within fire exit routes and may be placed adjacent to some specific risks, such as computer servers, electrical transformers etc. The extinguishers are provided for use by trained competent persons but should only be used when it is safe to do so and the escape route from the seat of fire is not compromised. Under no circumstances should a fire be confronted without first raising the alarm. All employees are required to familiarise themselves with the extinguishers provided within the relevant premise and the fire classification that may influence their limitations of use.

Where any firefighting equipment has been used or is deemed unsatisfactory, the Business Manager should be advised to facilitate replacement or investigation as necessary.

  - Structural Alterations

Where any structural or material alterations are carried out within a relevant premise that are likely to impact on the fire safety provision it will be the duty of the Business Manager or Head Teacher, as appropriate, to ensure that a copy of the proposals is made available to the Building Manager for his/her attention. Thereafter, it will be incumbent on the Business Manager to ensure that a review, if deemed necessary, of the Fire Safety Risk Assessment is carried out. It is also prudent to ensure the Building Manager is included at an early stage of correspondence in regard to any proposed material changes/alterations to any of the setting’s relevant premises.

  - External Waste Containers & Refuse Bins

External waste containers refuse bins and industrial skips are a potential fire hazard to all buildings. Fires often occur in such receptacles and where they are placed near a building, the potential for fire spread through radiated and convected heat currents is a realistic possibility. To ensure this risk is eliminated all such receptacles must be placed a minimum of 6m from any building. In all cases no receptacles should be placed directly adjacent to or below any window, door or other openings of a building. Where, due to operational reasons, a waste skip has to be placed within 6m of a building, it must be of the enclosed type and sited with the access doors facing away from the building.

  - Fire Safety Inspections

The following aspects need inspection as part of a routine fire safety inspection of a workplace.

- Electrical Appliances

- Inspection, maintenance and testing

- Heavy load appliances, including space heaters, connected to a permanent outlet

- Flexes visible at all times

- Circuit breakers of appropriate capacity installed

- Prohibition on the use of adaptors

- Unsafe wiring and connection

- Fire Doors and Partitions

- Sound condition

- Self-closures to doors

- No obstruction of fire doors

- Flame retardant partitions

- Unobstructed smoke detectors and sprinkler heads

- Decorations and furnishings

- Flame proofed curtains and other fabrics

- No flammable decorations

- Open Flame Devices

- No use of Candles, gas lamps, or other open flame devices

- ‘Hot work’ activities well controlled

- General Storage

- Storage areas in a clean and orderly condition

- Flammable refuse stored in metal bins

- No obstruction of electrical panels, fire appliances, fire exits, fire detection devices and sprinkler heads

- No storage of articles on stairways, landings and in unauthorised areas

- Flammable and combustible substances

- Adequate ventilation to prevent accumulation of vapours

- Sources of ignition eliminated

- Flammable liquids stored in metal cabinets

- Smoking

- Restrictions including designated ‘Smoking’ areas

- Evidence of unauthorised smoking

- Fire Exits

- Maintained and capable of opening with ease

- Always kept clear

- Suitably marked

- Provision for disabled persons and wheelchair users

- Housekeeping and cleaning

- Good housekeeping levels

- Storage of flammable refuse

- Safe layout

- Regular cleaning

- Fire Appliances

- Clearly indicated

- Wall mounted

- Training in correct use

- Maintained

- Fire instructions

- Clearly displayed

- Fire Alarms and Detection Devices

- Clearly indicated

- Employees trained in use of alarm

- Maintained

- Sprinkler System

- Inspected and maintained

- Sprinkler heads unobstructed