CYPS SCHOOL SCIENCE DEPARTMENT H&S REVIEW

Name of School:	…………………………………………………………

Date of Review: 	…………………………………………………………

Person(s) Conducting Review: …………………………………………….…

| A: General Laboratory Safety | YES | NO |
| --- | --- | --- |
| Is there access to the CLEAPSS guidance and evidence that the information is used ? |  |  |
| Are new and young workers appropriately supervised and informed ? |  |  |
| Are hazard warning signs posted in a prominent position indicating any hazards that may be present (e.g. biological, radioactive materials, or high noise emitting equipment) ? |  |  |
| Is there a door that can be closed to keep visitors out of the lab(s) while work with hazardous substances or biological agents is in progress ? |  |  |
| Where required, is access to the lab restricted to authorised persons only ? |  |  |
| Are storage areas (rooms, refrigerators, freezers, cupboards) where hazardous materials are kept labelled accordingly ? |  |  |
| Are all chemicals clearly labelled, including hazard symbols? |  |  |
| Are all biomaterials clearly labelled, including hazard symbols where appropriate ? |  |  |
| Are glass bottles stored where they cannot be knocked or kicked over ? |  |  |
| Are all pressure vessels periodically inspected and certified ? |  |  |
| Is the safe working pressure clearly marked on all pressure vessels ? |  |  |
| Are all pressurised gas cylinders properly secured by restraining chains, bench clamps or similar ? |  |  |
| Are gas cylinders sited away from doors or escape routes ? |  |  |
| Is all portable electrical equipment periodically tested and labelled with the date of test ? …..:………………. Date of last PAT test. |  |  |
| Is the use of laboratory equipment covered by safety instructions e.g. manufacturers / CLEAPSS etc ? |  |  |
| Are power supply leads for equipment in good order ? |  |  |
| Are floors clean ? |  |  |
| Are floor coverings intact and non-slip to minimise slip / trip hazards ? |  |  |
| Are walkways clear of tripping hazards (cables, stock, waste, etc) ? |  |  |
| Are work surfaces easily cleaned and decontaminated after use ? |  |  |
| Is lighting adequate and in working order ? |  |  |
| Are noise levels acceptable (you do not have to raise your voice to talk to people at the workplace) ? |  |  |
| Is there evidence of documented ‘in house’ checks of science classrooms and laboratories being made by staff ? |  |  |
| Are all fume extraction cupboards covered by annual formal documented inspection and can this be evidenced ? |  |  |
| Comments / Action Required: |  |  |
| B: Information for workers / students | YES | NO |
| Do staff and students know about the findings of risk assessments ? |  |  |
| Do staff and students know what hazards they are being exposed to ? |  |  |
| Are staff involved in the development and monitoring of risk assessments and hazard controls ? |  |  |
| Are written risk assessments available for inspection ? |  |  |
| Do staff understand their role in relation to health and safety ? |  |  |
| Are students adequately briefed in relation to risk assessments and hazards ? |  |  |
| Is any exposure monitoring or health surveillance being undertaken and if so are staff aware of this ? |  |  |
| Is information such as data sheets, guidance sheets etc evident and being used ? |  |  |
| Comments / Action Required: |  |  |

| C: Chemical safety | YES | NO |
| --- | --- | --- |
| Are Material Safety Data Sheets available for all hazardous substances used in the lab ? |  |  |
| Are all chemicals and containers correctly and clearly labelled? |  |  |
| Are staff and students informed about compatibility of chemicals ? |  |  |
| Are heavy items stored on/in low shelves or cupboards ? |  |  |
| Is storage of hazardous chemicals above eye level avoided ? |  |  |
| Are flammable agents and solvents, etc, stored in suitable closed vessels, within fire-resistant cupboards, cabinets or bins containing spill trays ? |  |  |
| Are the flammable stores properly labelled ? |  |  |
| Are bottles containing strong acids or strong alkalis stored on spill trays ? |  |  |
| Do all staff and students wear appropriate personal protective equipment ? |  |  |
| Do staff and students know what to do in case of a chemical emergency or if chemicals spill (first aid and procedures) ? |  |  |
| Where Occupational Exposure Limits are assigned to a substance, is exposure controlled below that limit ? |  |  |
| Is there access to eye wash / eye irrigation in the event of splashing ? |  |  |
| Comments / Action Required: |  |  |

| D: Biological safety | YES | NO |
| --- | --- | --- |
| Are procedures regarding the use of sharps (eg needles, syringes, pipettes, scalpels, razors, broken glass, etc) in place to minimise the risk of cuts, needle stick injury and infection etc ? |  |  |
| Are there puncture and leak-proof containers to discard intact needles and syringes, butterfly needles and associated similar devices ? |  |  |
| Are the receptacles for sharps disposal properly labelled ? |  |  |
| When work is done on the open bench, are plastic-backed absorbent pads placed on the work surface to collect splatter or droplets associated with the work ? |  |  |
| Are contaminated waste procedures developed and followed ? |  |  |
| Are waste materials segregated according to hazard type, and is there an appropriate chemical decontamination tray for collecting contaminated implements ? |  |  |
| Comments / Action Required: |  |  |

| E: Hygiene | YES | NO |
| --- | --- | --- |
| Is the production of aerosols minimised and contained ? |  |  |
| Is there a hand-washing sink available (preferably near the door) with liquid soap and paper towels as a minimum ? |  |  |
| Are there hand-washing instructions for all persons when they finish their work or when they exit the laboratory ? |  |  |
| Is eating, drinking and the application of cosmetics prohibited in the lab ? |  |  |
| Are there welfare facilities available outside the laboratory area where personnel can eat and/or drink ? |  |  |
| Is there provision for the secure storage of outdoor clothing out of the laboratory area, or in secure cupboards/lockers within the area as appropriate to prevent contamination ? |  |  |
| Are mechanical pipetting devices used ? |  |  |
| Are single-use needles and syringes used ? |  |  |
| Where microbiological safety cabinets are used to control exposure to biological agents: |  |  |
| Are they subject to containment and filter penetration tests at appropriate intervals ? |  |  |
| Is a valid operator protection test certificate available for each cabinet in the lab ? |  |  |
| Comments / Action Required: |  |  |
| F: Emergency procedures | YES | NO |
| Are safety rules clearly displayed ? |  |  |
| Have plans been drawn up to deal with accidents ? |  |  |
| Are staff and/or students adequately trained in safety procedures and do staff know how to contact the emergency services ? |  |  |
| Are emergency procedures and emergency phone numbers clearly posted on all laboratory doors ? |  |  |
| Is there a person, with appropriate experience and knowledge, designated to deal with spills/leaks involving dangerous substances and/or biological hazardous substances ? |  |  |
| Is the emergency exit clearly signposted, illuminated and unobstructed ? |  |  |
| Are staff and/or students aware of the nearest fire exit route ? |  |  |
| Is a first aid kit present and filled with appropriate and up-to-date supplies ? |  |  |
| Is there a trained first-aider available ? |  |  |
| Are hand washing sinks available ? |  |  |
| Is an eyewash fountain present, functioning and unobstructed ? |  |  |
| Is an emergency shower present, functioning and unobstructed ? |  |  |
| Do staff and students know what to do in the event of an emergency involving dangerous substances and/or biologically hazardous materials ? |  |  |
| Are there appropriate spill kits available to deal with spills/leaks of hazardous substances ? |  |  |
| Is suitable PPE available to protect laboratory and/or maintenance staff in the event of control measures failing, or to deal with a spillage ? |  |  |
| In the case of biological agents, do the plans specify appropriate decontamination and disinfection procedures ? |  |  |
| Is fire fighting equipment readily available and unobstructed? |  |  |
| Are staff familiar with the location of fire fighting equipment and the action to take in the event of fire ? |  |  |
| Do staff and students know what to do in the event of an activated fire alarm ? |  |  |
| Comments / Action Required: |  |  |

| G: Personal Protective Equipment (PPE) | YES | NO |
| --- | --- | --- |
| Are staff and students protected by lab coats or overalls ? |  |  |
| Is the protective equipment appropriate to European Standards and CE marked ? |  |  |
| Are safety goggles and/or face shields available and worn ? |  |  |
| Are appropriate protective gloves available and worn ? (Experience has shown that many safety data sheets contain insufficient information on gloves; if in doubt consult supplier or suppliers literature) |  |  |
| Is appropriate respiratory protection available (if required) ? |  |  |
| Is the respiratory protection regularly cleaned and inspected (if required) ? |  |  |
| Are staff and students trained on how to use the protective equipment ? |  |  |
| Is there sufficient stock of protective equipment, especially respiratory, so as to allow replacement if a defect is found ? |  |  |
| Do staff and students wear fully covered shoes ? |  |  |
| Do staff and students confine long hair and avoid loose clothing ? |  |  |
| In the case of PPE for work with biological agents: |  |  |
| Is the protective equipment stored where it cannot be contaminated by biologically hazardous substances and where it will not contaminate outdoor clothing ? |  |  |
| Is it always removed on leaving the lab ? |  |  |
| Is it kept apart from uncontaminated clothing or equipment ? |  |  |
| Is the “one lesson / day” disposable PPE safely disposed ? |  |  |
| If it is not “one lesson / day” disposable, is the PPE regularly inspected, cleaned and maintained ? |  |  |
| Comments / Action Required: |  |  |

| H: Hazardous waste | YES | NO |
| --- | --- | --- |
| Are waste management procedures in place ? |  |  |
| Are waste receptacles emptied regularly ? |  |  |
| Are waste types segregated and stored correctly ? |  |  |
| Is hazardous waste properly labelled ? |  |  |
| Are infectious waste materials decontaminated before disposal ? |  |  |
| Are contaminated needles and syringes placed in special puncture-resistant containers for disposal ? |  |  |
| Comments / Action Required: |  |  |

| I – Radiation | YES | NO |
| --- | --- | --- |
| Does the school have a named Radiation Protective supervisor ? |  |  |
| Does the school have an inventory of Radio Active sources ? |  |  |
| Does the school complete the annual CLEAPSS return for the Local Authority Radiation Protective Advisor ? |  |  |
| Are radio active sources secured and stored safely ? |  |  |
| Does the school have a documented system for checking radiation sources ? |  |  |
| Has the school radiation protective supervisor attended appropriate training ? |  |  |
| Comments / Action Required: |  |  |

School Action Plan (in response to Comments / Action Required sections):